Lab-Specific Safety Training Checklist

This guide may be used to assist PIs/supervisors with lab-specific training for new lab members. Training records should be updated as new areas become relevant; initial and date next to checkboxes for training  provided after initial date. Keep a copy of this document with the lab’s safety training documents.

| PI: |  | Department: |
| --- | --- | --- |
| Building: |  | Room: |
| Initial/Date | Basic laboratory safety standards and policies |  |
|  | Review UO Safety Policy |  |
|  | Review the OSHA Lab Standard |  |
|  | Review safe lab practices (proper attire, handwashing, no pets allowed, etc.) |  |
|  | Identify designated areas for food consumption/storage outside of the lab |  |
|  | Review procedures for working after hours (e.g. Lone Worker policy) |  |
|  | Review how to obtain transportation to medical care in case of a workplace injury |  |
|  | Review procedures for reporting workplace injuries, lab incidents, and near misses |  |
| Emergency planning: spills, injury, fire, and power failure |  |  |
|  | Fire extinguisher and first aid kit locations |  |
|  | Confirm the location of the nearest fire alarm pull stations |  |
|  | Safety shower and eyewash locations and use |  |
|  | Lab spill kit, Emergency Procedures wall poster, and Lab Safety flipchart |  |
| Waste handling procedures (labeling, storing, requesting pick-up) |  |  |
|  | Requirements for waste determinations for lab processes |  |
|  | Chemical waste streams: labeling and storage |  |
|  | Radioactive waste streams: labeling and storage |  |
|  | Biohazardous, Pathological, and non-pathogenic Recombinant waste streams |  |
|  | Sharps (e.g., needles/razor blades, biological/chemical-contaminated glass), and uncontaminated glass waste |  |
| Work involving chemical hazards |  |  |
|  | Review of UO Chemical Hygiene Plan |  |
|  | Review location of and how to read Safety Data Sheets (SDSs) |  |
|  | Review lab’s chemical inventory in EHSA |  |
|  | Review procedures for chemical procurement and storage (e.g. compatible storage, corrosives cabinet, flammable liquid storage cabinet, flammable liquid storage refrigerator) |  |
|  | Location where certain procedure(s) may be performed (e.g., fume hood, Biosafety cabinet, glove box) |  |
| Personal protective equipment |  |  |
|  | Discuss required PPE for routine lab work, plus additional PPE for specific tasks |  |
|  | Review selection and proper use of gloves (& manufacturer’s compatibility data) |  |
|  | If a respirator is required or desired for work, contact EHS Lab Safety for request form |  |
|  | Review the procedure for checking out an EHS lab coat |  |
| Lab equipment, ergonomics, and housekeeping |  |  |
|  | Discuss proper lab ergonomics, including computer work, microscope use, and any repetitive activities. Request an ergonomic assessment if necessary. |  |
|  | Discuss training and maintenance of scientific equipment, including machine hazards and electrical safety |  |
|  | Review maintenance of lab’s safety equipment: weekly flushing of eyewash, checking fire extinguishers monthly, monitoring gauges on fume hoods, biosafety cabinet certification, keeping safety showers and electrical panels accessible, etc.) |  |
| Exposure monitoring/medical surveillance |  |  |
|  | Discuss PELs and TLVs for chemicals in use and how to reduce employees’ exposure |  |
|  | Discuss use of engineering controls such as fume hoods, biological safety cabinets, and other mechanical ventilation systems |  |
|  | Review criteria for medical surveillance, as found in the UO Chemical Hygiene Plan |  |
|  | Discuss the need for employees to inform health care providers of hazardous substances used in the lab, particularly in instances of immunocompromised status |  |
| Working with pathogenic, biohazardous, or recombinant/synthetic materials |  |  |
|  | Review UO Biosafety Manual and Lab-Specific Biosafety Manual for BSL-2 labs |  |
|  | If work involves human blood, other human-derived or non-human primate derived materials, contact BSO to enroll in Bloodborne Pathogens Program |  |
|  | If recombinant or synthetic DNA is used, review procedures for spills, exposures, and reporting requirements |  |
|  | Review standard microbiological practices, use of Biosafety Cabinet |  |
| Working with radioisotopes |  |  |
|  | Contact Radiation Safety Officer for enrollment into program |  |
|  | Review Radiation Safety Manual & Dosimetry Program |  |
| Working with animals |  |  |
|  | Contact Animal Welfare Services for animal handler training |  |
|  | Complete and submit Medical Questionnaire to University Health Center |  |
|  | Volunteers need to complete and submit Volunteer Service Form |  |
| Additional lab-specific hazards |  |  |
|  | Review applicable topics such as liquid nitrogen use, Laser Safety, Controlled Substances, compressed gases, and noise hazards |  |
|  | Discuss ongoing laboratory training (e.g., review of incidents/accidents/injuries and how to prevent recurrence). EHS annual refresher training. |  |
|  | Field research: review heat illness prevention and wildfire smoke exposure requirements |  |
|  | Review additional relevant topics in the UO Lab Safety Manual |  |

I certify the above items have been reviewed with me and I agree to take responsibility for  maintaining a safe laboratory environment.

___________________________________   _________________________________   _______________

Lab member’s name	   Lab member’s signature                               Date

___________________________________   _________________________________   _______________

Supervisor’s name				    Supervisor’s signature			   Date

INCIDENT RESPONSE

EMERGENCY	911

URGENT (Campus Dispatch)	541-346-2919

BE PREPARED		BE SURE YOU KNOW

WHERE ARE YOU LOCATED?

WHERE IS FIRST AID KIT LOCATED?

FIRE EXTINGUISHER?

FIRE ALARM PULL STATION?

NEAREST BATHROOMS?

SPILL KIT LOCATION?

SDS LOCATIONS?

EVACUATION ROUTES?

INJURY REPORTING PROCEDURES?